## Slide 1: GOES and GOES-R ABI Aerosol Optical Depth (AOD) Validation
Shobha Kondragunta and Istvan Laszlo (NOAA/NESDIS/STAR),
Chuanyu Xu (IMSG), Pubu Ciren (Riverside Technologies), and Hai Zhang (UMBC)
AERONET data courtesy of NASA (PI: Brent Holben)
Second GOES-R Air Quality Proving Ground Workshop, UMBC, Jan 12, 2012

## Slide 2: Outline
GOES vs. GOES-R illustration
Strategy for GOES AOD validation
  Analysis of GOES and DRAGON AERONET data during DISCOVER-AQ field campaign is to understand if GOES captures the aerosol spatial and temporal variability observed by DRAGON.
  Analysis of GOES and AERONET AOD over CONUS for 2009 is to understand the limitations of GOES AOD.
Strategy for GOES-R AOD validation
  Analysis of GOES-R and AERONET/MODIS AOD is to demonstrate that the product meets specifications, and the various online tools we developed to continuously monitor the product performance.

## Slide 3
 |  | GOES | GOES-R
Spectral |  | 5 | 16
Spatial | Visible | 1 km | 0.5 km
 | Near-IR | N/A | 1 km
 | IR | 4 km | 2 km
Scan Mode/Temporal Resolution | Full Disk | 3 hr | 15 min
 | CONUS | 15 min | 5 min
 | Mesoscale | N/A | 30 sec
There are two anticipated scan modes for the ABI:
full disk images every 15 minutes + CONUS images every 5 minutes + mesoscale.
Full disk every 5 minutes
Courtesy of Tim Schmidt, NESDIS/STAR

## Slide 4: GOES and DRAGON Station AOD Data (June-July 2011)

## Slide 5
Mean GOES AOD
Mean DRAGON AOD
June and July 2011

## Slide 6: Correlation between GOES and DRAGON AOD for June and July 2011
Average GOES AOD from 3 X 3 pixels around DRAGON station
A minimum of three of the nine GOES pixels should be cloud-free
DRAGON station observations within ± 15 minutes of GOES observation
Match-Up Criteria

## Slide 7
Examples for scatter plots between GOES and DRAGON AOD for individual sites (June and July 2011)

## Slide 8: Correlation between GOES and DRAGON AOD (all stations) for June and July 2011

## Slide 9
Examples for diurnal cycle for individual sites for June and July 2011

## Slide 10: Diurnal Variation of AOD (Mean of all stations for June and July 2011)

## Slide 11
Station to Station Correlation
Findings based on June-July AOD Data
All stations except Wiley Ford (blue dots) located within ~ 100 km.
Poor correlation when sample size is small (red color).
DRAGON network showing high station to station correlation compared to GOES
Results indicate that urban station (Baltimore) has similar AOD as sub-urban stations

## Slide 12
GOES vs. AERONET AOD for Evergreen Needleleaf Forests Surface Type in Different Seasons

## Slide 13: GOES vs. AERONET AOD for 2009
Chart: Correlation Coefficient
| Water bodies | Evergreen Needleaf Forests | Deciduous Broadleaf Forests | Mixed Forests | Open Shrublands | Woody Savannas | Grasslands | Cropland | Urban and Built-up | Cropland/Natural Vegetation Mosaic
all season | 0.68 | 0.58 | 0.21 | 0.56 | 0.18 | 0.48 | 0.36 | 0.52 | 0.39 | 0.5
summer | 0.81 | 0.65 | 0.74 | 0.66 | 0.73 | 0.54 | 0.69 | 0.6 | 0.7
fall | 0.46 | 0.61 | 0.21 | 0.29 | 0.41 | 0.48 | 0.61 | 0.43 | 0.59
spring | 0.45 | 0.37 | 0.33 | 0.42 | 0.27 | 0.42 | 0.11 | 0.35 | 0.44 | 0.22
winter | 0.26 | 0.62 | 0.47 | -0.29 | 0.29 | -0.08 | 0.21 | 0.29

## Slide 14: GOES vs. AERONET AOD (cont.)
Chart: RMSE
| Water bodies | Evergreen Needleaf Forests | Deciduous Broadleaf Forests | Mixed Forests | Open Shrublands | Woody Savannas | Grasslands | Cropland | Urban and Built-up | Cropland/Natural Vegetation Mosaic
all seasons | 0.14 | 0.09 | 0.32 | 0.14 | 0.15 | 0.1 | 0.15 | 0.24 | 0.2 | 0.14
summer | 0.14 | 0.08 | 0.12 | 0.13 | 0.1 | 0.13 | 0.2 | 0.13 | 0.11
fall | 0.13 | 0.09 | 0.13 | 0.1 | 0.1 | 0.13 | 0.22 | 0.13 | 0.1
spring | 0.14 | 0.1 | 0.28 | 0.16 | 0.13 | 0.09 | 0.18 | 0.25 | 0.22 | 0.23
winter | 0.19 | 0.11 | 0.36 | 0.31 | 0.12 | 0.34 | 0.42 | 0.32

## Slide 15
Range | Land |  |  |  | Ocean |  |  | 
 | AOD | Accuracy | Precision | # of points | AOD | Accuracy | Precision | # of points
Low | <0.04 | 0.05 (0.06) | 0.12 (0.13) | 18,100 | <0.4 | 0.01 (0.02) | 0.07 (0.15) | 27,975
Medium | 0.04 - 0.8 | 0.03 (0.04) | 0.13 (0.25) | 109,308 |  |  |  | 
High | > 0.8 | -0.07 (0.12) | 0.32 (0.35) | 3,225 | >0.4 | -0.03 (0.10) | 0.19 (0.23) | 2592
Accuracy and Precision Analysis of ABI AOD
*numbers in parenthesis are the requirements

## Slide 18: Summary
GOES AOD product is suitable for:
  Semi-quantitative applications of air quality monitoring (e.g., identifying aerosol plume location and movement). Product is currently widely used by the users (more than a million hits for IDEA website each calendar year)
  Summer time retrievals can be used quantitatively; in winter, AODs are low, surface characteristics change and retrievals are uncertain
GOES-R AOD product
  Expected to be as good as MODIS but with better spatial and temporal coverage
  Unlike the current GOES AOD product which is validated on an ad hoc basis, GOES-R AOD product will be monitored and validated on a routine basis